## Front Sheet
EnviroTech LLC
Analyzer Test Report Sheet
Instrument | MicroLAB
Serial Number | 1234
Date | 2005-01-01
Operator | ANO
Check list | Done
Blanks
Repeatability
Efficiency
Linearity
Procedure
1. Upload scripts
2. Clear data
3. Run script
4. Download
5. Process
6. Open .CSV file
7. Copy and paste relevant data into cell A7
8. Inspect results

## Blank Data
Blank Test
Instrument | MicroLAB |  | Source |  |  |  |  | Color |  |  |  |  | Ratio
Serial Number | 1234 | Mean | #DIV/0! |  |  |  |  | #DIV/0! |  |  |  |  | #DIV/0!
Date | 2005-01-01 | 2SD | #DIV/0! |  |  |  |  | #DIV/0! |  |  |  |  | #DIV/0!
Operator | ANO | Noise | #DIV/0! |  |  |  |  | #DIV/0! |  |  |  |  | #DIV/0!
Date/Time | VIn | Temp | Src Intensity | Bt | Rt | Bs | Rs | Bs-NO3 | OBS Conc. | At | As | Conc. | Ratio
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## Repeat Data
Repeatability Test
Instrument | MicroLAB | [12 empty] | High | Low
Serial Number | 1234 | [11 empty] | Mean | #DIV/0! | #DIV/0!
Date | 2005-01-01 | [11 empty] | 2SD | #DIV/0! | #DIV/0!
Operator | ANO | [11 empty] | Noise | #DIV/0! | #DIV/0!
Date/Time | VIn | Temp | Src Intensity | Bt | Rt | Bs | Rs | Bs-NO3 | Rs-NO3 | OBS Conc. | At | As | Conc. | Abs-75 | Abs-25
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## Efficiency Data
Efficiency Test
Instrument | MicroLAB | [14 empty] | NO3 | NO2 | RE
Serial Number | 1234 | [13 empty] | Mean | #DIV/0! | #DIV/0! | #DIV/0!
Date | 2005-01-01 | [13 empty] | 2SD | #DIV/0! | #DIV/0! | #DIV/0!
Operator | ANO | [13 empty] | Noise | #DIV/0! | #DIV/0! | #DIV/0!
Date/Time | VIn | Temp | Src Intensity | Bt | Rt | Bs | Rs | Bt-NO3 | Rt-NO3 | Bs-NO2 | Rs-NO2 | OBS Conc. | At | As | Conc. | Abs-NO3 | Abs-NO2 | RE

## Linear Data
Linearity Test
Instrument | MicroLAB
Serial Number | 1234
Date | 2005-01-01
Operator | ANO
Date/Time | VIn | Temp | Src Intensity | Bt | Rt | Bs | Rs | Bt-NO3 | Rt-NO3 | Bs-NO3 | Rs-NO3 | OBS Conc. | At | As | Conc. | Abs-T | Abs-S
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
Linearity
[11 empty] | Cal | Conc. | Abs | Abs (calc) | Error | Err %FSR
[11 empty] | 0% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 10% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 25% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 50% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 75% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 90% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 100% | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | Slope | #DIV/0!
[12 empty] | Intercept | #DIV/0!
[12 empty] | r2 | #DIV/0!